ORDINANCE NO. 10736

AN ORDINANCE TO AMEND CHATTANOOGA CITY CODE, PART II, SECTION 10-3(g), REGARDING THE APPLICABILITY OF THE 1997 STANDARD BUILDING CODE TO ALTERATIONS, REPAIRS, OR REHABILITATION ON EXISTING STRUCTURES.

__________________________________________

SECTION 1.  BE IT ORDAINED BY THE CITY COUNCIL OF THE CITY OF CHATTANOOGA, TENNESSEE, that Section 10-3(g), Part II, Chattanooga City Code, be and hereby is amended by striking said Section in its entirety and substituting in lieu thereof the following:

SECTION 10-3. Amendments to Code Adopted.

- Section 3401.2.1 is amended by deleting such section in its entirety and substituting in lieu thereof the following language:

3401.2  Applicability

3401.2.1 Alterations, repairs or rehabilitation work may be made to any existing structure, building, electrical, gas, mechanical or plumbing system without requiring the building, structure, plumbing, electrical, mechanical or gas system to comply with all the requirements of the technical codes, provided that the alteration, repair or rehabilitation work conforms to the requirements of the technical codes for new construction.  The building official shall determine the extent to which the existing system shall be made to conform to the requirements of the technical codes for new construction by applying the following standards:

- If, within any twelve (12) month period, alterations or repairs costing in excess of thirty (30%) percent of the replacement value of the entire building are made to an existing building, such building shall be made to conform to the requirements of this code for new buildings.

- If an existing building is damaged by fire or otherwise in excess of thirty (30%) percent of its replacement value before such damage is repaired, the entire building shall be made to conform to the requirements of this code for new buildings.

- For purposes of this section, the building official shall use the latest addition of R.S. Means Square Foot Costs Data, one copy of which is, and has been on file in the Office of the City Council Clerk, to determine the replacement cost of an existing building.  The building official may require the replacement cost of an existing building to be determined by a registered architect, engineer, licensed general contractor or other professional.  Any such review shall be approved by the building official and all costs associated with such review shall be paid by the party asserting that the alterations and repairs are less than thirty (30%) percent of the replacement cost of the building at the time they are made.

SECTION 2.  BE IT FURTHER ORDAINED THAT this Ordinance shall be effective two (2) weeks from and after its passage as provided by law.

# PASSED on Third and Final

Reading August 18, 1998 .		/s/_____________________________

CHAIRPERSON

APPROVED:   X   DISAPPROVED:____

DATE:       August 20, 1998     .

/s/_____________________________

MAYOR

PAN/kac