# ORDINANCE NO. 11721

AN ORDINANCE TO AMEND CHATTANOOGA CITY CODE, PART II, SECTIONS 10-1 AND 10-2, SO AS TO ADOPT THE 2003 EDITIONS OF THE INTERNATIONAL BUILDING CODE AND THE INTERNATIONAL RESIDENTIAL CODE AND CERTAIN APPENDICES OF THOSE CODES AS REVISED AND AMENDED AS THE OFFICIAL BUILDING CODE OF THE CITY OF CHATTANOOGA AND TO AMEND SECTION 10-3 CONCERNING SPECIAL AMENDMENTS TO THE INTERNATIONAL BUILDING CODE, AND THE INTERNATIONAL RESIDENTIAL CODE, CONCERNING  DRAWINGS AND SPECIFICATIONS, PERMIT FEES, EXISTING BUILDING OR STRUCTURES, MOVED STRUCTURES, EMPLOYEE QUALIFICATIONS, AND SIGNS,  AND TO AMEND §§ 2-625 AND 2-626 CONCERNING THE CONSTRUCTION BOARD OF ADJUSTMENTS AND APPEALS AND TO AMEND § 10-7 CONCERNING THE ADOPTION OF THE ANSI NATIONAL STANDARD AS THE OFFICIAL HANDICAP AND ACCESSIBILITY CODE OF THE CITY OF CHATTANOOGA.

SECTION 1.  BE IT ORDAINED BY THE CITY COUNCIL OF THE CITY OF CHATTANOOGA, TENNESSEE, that Section 10-1, Part II, Chattanooga City Code, be and hereby is amended by striking said section in its entirety and substituting in lieu thereof the following:

Section 10-1.  Building Code Adopted.

The International Building Code, 2003 Edition, and the International Residential Code, 2003 Edition, one (1) copy of each which are, and have been on file in the Office of the City Council Clerk for more than fifteen (15) days, are hereby adopted as the Official Building Codes of the City.

SECTION 2.  BE IT FURTHER ORDAINED that Section 10-2, Part II, Chattanooga City Code, be amended by striking same in its entirety and substituting in lieu thereof the following words and figures:

Section 10-2.  Appendices to Code Adopted.

The following appendices to the International Building Code, 2003 Edition, and the International Residential Code, 2003 Edition, and as further amended in this chapter, are hereby adopted as part of the official Building Codes of the City:

a.	 International Building Code

Appendix A  – Employee Qualifications, as amended

Appendix C – 	Agricultural Buildings

Appendix D –	Fire District, as amended.

Appendix F  –	Rodent Proofing

Appendix H – Signs, as amended

Appendix I –	Patio Covers

Appendix J –	Grading, as amended

b.	International Residential Code

Appendix A –	Sizing and Capacities of Gas Piping

Appendix B – 	Sizing of Venting Systems

Appendix C – 	Exit Terminals of Mechanical Draft

Appendix J –  Existing Buildings and Structures

Appendix L– ICC International Residential Electrical Provisions Cross Reference

SECTION 3.  BE IT FURTHER ORDAINED that Section 10-3, Part II, Chattanooga City Code, be amended by striking in its entirety and substituting in lieu thereof the following words and figures:

SECTION 10-3.  Amendments to Code Adopted.

The following sections and appendices of the International Building Code, 2003 edition, are hereby amended, as hereinafter provided:

a.	Section 101.2, Exception 2 is deleted in its entirety.

b.	Section 104.4 is amended by deleting the last sentence in its entirety.

c.	Section 105.1.1 and 105.1.2 are deleted in their entirety.

d.	Section 106.1 is amended by adding a new Subsection 106.1.4 and other new subsections through 106.1.7 which shall read as follows:

106.1.4  Requirements.  When required by the building official, two or more copies of specifications, and of drawings drawn to scale with sufficient clarity and detail to indicate the nature and character of the work, shall accompany the application for a permit.  Such drawings and specifications shall contain information, in the form of notes or otherwise, as to the quality of materials, where quality is essential to conformity with the technical codes.  Such information shall be specific, and the technical codes shall not be cited as a whole or in part, nor shall the term “legal” or its equivalent be used as a substitute for specific information.  All information, drawings, specifications and accompanying data shall bear the name and signature of the person responsible for the design.

106.1.5  Additional data.  The building official may require details, computations, stress diagrams, and other data necessary to describe the construction or installation and the basis of calculations.  All drawings, specifications and accompanying data required by the building official to be prepared by an architect or engineer shall be affixed with their official seal.

106.1.6  Design professional.  The design professional shall be an architect or engineer legally registered under the laws of this state regulating the practice of architecture or engineering and shall affix his official seal to said drawings, specifications and accompanying data, for the following:

1.         All Group A, E and I occupancies.

2.         Buildings and structures two stories or more high.

3.         Buildings and structures 5,000 sq ft (465 m2) or more in area.

For all other buildings and structures, the submittal shall bear the certification of the applicant that some specific state law exception permits its preparation by a person not so registered.

Exception:  Group R3 buildings, regardless of size, shall require neither a registered architect or engineer, nor a certification that an architect or engineer is not required.

106.1.7  Structural and fire resistance integrity.  Plans for all buildings shall indicate how required structural and fire resistance integrity will be maintained where a penetration of a required fire resistant wall, floor or partition will be made for electrical, gas, mechanical, plumbing and communication conduits, pipes and systems.  Such plans shall also indicate in sufficient detail how the fire integrity will be maintained where required fire resistant floors intersect the exterior walls and where joints occur in required fire resistant construction assemblies.

106.1.8  Affidavits.  The building official may accept a sworn affidavit from a registered architect or engineer stating that the plans submitted conform to the technical codes.  For buildings and structures, the affidavit shall state that the plans conform to the laws as to egress, type of construction and general arrangement and, if accompanied by drawings, show the structural design and that the plans and design conform to the requirements of the technical codes as to strength, stresses, strains, loads and stability.  The building official may without any examination or inspection accept such affidavit, provided the architect or engineer who made such affidavit agrees to submit to the building official copies of inspection reports as inspections are performed and upon completion of the structure, electrical, gas, mechanical, or plumbing systems a certification that the structure, electrical, gas, mechanical or plumbing system has been erected in accordance with the requirements of the technical codes.  Where the building official relies upon such affidavit, the architect or engineer shall assume full responsibility for the compliance with all provisions of the technical codes and other pertinent laws or ordinances.  Affidavits will only be accepted by the Building Official where emergency or extraordinary circumstances are established.  If sufficient evidence of emergency or extraordinary circumstances are shown, the Building Official shall have discretion to issue permits based upon affidavits without stamped drawings.

e.	Section 106.3 is amended by deleting it in its entirety and substituting the following in lieu thereof:

106.3	Plan Review.  The building official shall examine or cause to be examined each application for a permit and the accompanying documents, consisting of drawings, specifications, computations and additional data, and shall ascertain by such examinations whether the construction indicated and described is in accordance with the requirements of the technical codes and all other pertinent laws or ordinances.

f.	Section 108.2 is amended by adopting a non-refundable fee schedule for all building permits which shall be as follows:

108.2	NON-REFUNDABLE PERMIT FEES

Total Valuation				Fee

$1,000 and less	No fee, unless inspection required, in which case a $15.00 fee for each inspection shall be charged.

$1,001 to $50,000	$15.00 for the first $1,000.00 plus $5.00 for each additional thousand or fraction thereof, to and including $50,000.00

$50,001 to $100,000	$260.00 for the first $50,000.00 plus $4.00 for each additional thousand or fraction thereof, to and including $100,000.00

$100,001 to $500,000	$460.00 for the first $100,000.00 plus $3.00 for each additional thousand or fraction thereof, to and including $500,000.00

$500,001 and up	$1,660.00 for the first $500,000.00 plus $2.00 for each additional thousand or fraction thereof

108.2.1  MOVING FEE

For the moving of any building or structure, the fee shall be $100.00

108.2.2  DEMOLITION FEES

For the demolition of any building or structure, the fee shall be:

Residential Structures (maximum of 4 units)			$100.00

Non-Residential and Apartments				$200.00

108.2.3  PENALTIES

Where work for which a permit is required by this Code is started or proceeded with prior to obtaining said permit, the fees herein specified may be doubled, but the payment of such double fee shall not relieve any persons from fully complying with the requirements of this Code in the execution of the work no from any other penalties prescribed herein.

108.2.4  OTHER FEES

Certificates of Occupancy (New Facility)			$    10.00

Certificates of Occupancy (Conditional)			      50.00

Certificates of Occupancy (Existing Facility)			      50.00

Certificates of Occupancy (Beverage License)		      25.00

Certificates of Completion					      10.00

Fee for Sewer Verification Letter				      50.00

Fee for Zoning Letter						      50.00

Fee for Code Compliance Letter (Basic)			      50.00

Fee for Code Compliance Letter 				     .05/per sq. ft.

Fee for Code Compliance Letter (warehouse/industrial)	    500.00+*

{*$.02/sq. ft. for each add’l sq. ft. above 10,000}

Fee for Re-inspections (Bldg., Plumbing, Gas, Mechanical,

Electrical and Signs)					      25.00

Fee for Permit Transfer					      25.00

Fee for Modular Home Site Investigation			      25.00

Plan Checking Fee					(30% of Building Permit Fee)

Phased Construction Plans Review Fee       		(50% of Building Permit Fee)

Cell Tower Site Review Fee					     100.00

Cell Tower Technical Location Requirements Review Fee     1,500.00

Construction Board of Appeals:

Fee for 1-2 Family Structure Appeals			       50.00

Fee for all other appeals					     100.00

Fee for Variance Request to Board of Zoning Appeals	       75.00

Fee for Appeal to the Board of Sign Appeals			     100.00

Fee for Floodplain Variance Request				     100.00

Fee for Fire District Removal Request			     100.00

All of the fees in 108.2.4 shall be nonrefundable unless in the determination of the Director of Public Works, the department has not completed sufficient review to justify the entire fees for Phased Construction Plans Review or Cell Tower Technical Location Requirement Review due to the withdrawal of an application prior to review.  In such incidents any proportional refund shall be in the sole discretion of the Director of Public Works.

- Section 108.4.   Work commencing before permit issuance shall be amended by adding a new sentence at the end of that subsection which shall state as follows:

Any person who commences work on a building, structure, electrical, gas, mechanical or plumbing system before obtaining the necessary permits shall be subject to a penalty of 100% of the usual permit fee in addition to the required permit fees.

- Section 112.  Board of Appeals is amended by deleting said section in its entirety and substituting in lieu thereof the following:

The Construction Board of Appeals for the Building, Electrical, Fire , Fuel Gas, Life Safety, Mechanical and Plumbing codes of the Chattanooga City Code as established by Section 2-625, shall act as the Board of Appeals for appeals from any decision of the Building Official or his designee and to consider variances of the technical codes as provided in this Code.

h.	Section 903.3.5.2 entitled Secondary Water Supply is deleted in its entirety.

i.	Section 3107, Signs, is amended by adding a new Section 3107.1.1 which shall state as follows:

3107.1.1  Conflicting Provisions.

To the extent that any provision in this chapter is in conflict with the provisions of the Chattanooga City Code § 3-1 et. seq., the provisions of Chapter 3 of the Chattanooga City Code shall control.

j.	Section 3403.1 Existing buildings or structures is amended by deleting such section in its entirety and substituting in lieu thereof the following language:

3403.1  Existing buildings or structures

3403.1 Alterations, repairs or rehabilitation work may be made to any existing structure, building, electrical, gas, mechanical or plumbing system without requiring the building, structure, plumbing, electrical, mechanical or gas system to comply with all the requirements of the technical codes, provided that the alteration, repair or rehabilitation work conforms to the requirements of the technical codes for new construction.  The building official shall determine the extent to which the existing system shall be made to conform to the requirements of the technical codes for new construction by applying the following standards:

- If, within any twelve (12) month period, alterations or repairs costing in excess of thirty (30%) percent of the replacement value of the entire building are made to an existing building, such building shall be made to conform to the requirements of this code for new buildings.

- If an existing building is damaged by fire or otherwise in excess of thirty (30%) percent of its replacement value before such damage is repaired, the entire building shall be made to conform to the requirements of this code for new buildings.

(3)	For purposes of this section, the building official shall use the latest edition of R.S. Means Square Foot Costs Data, one copy of which is, and has been on file in the Office of the City Council Clerk, to determine the replacement cost of an existing building.  The building official may require the replacement cost of an existing building to be determined by a registered architect, engineer, licensed general contractor or other professional.  Any such review shall be approved by the building official and all costs associated with such review shall be paid by the party asserting that the alterations and repairs are less than thirty (30%) percent of the replacement cost of the building at the time they are made.

k.	Section 3407.2,  Flood Hazard Areas is amended by adding the following language to the end of that subsection:

The appropriate Flood Hazard Regulations of the Chattanooga Zoning Ordinance and the Federal Regulations referenced therein shall constitute the official regulations of the City of Chattanooga with regard to any construction with the Flood Hazard Zone.

l.	Section 3408, Moved Structures is amended by deleting such Section 3408 in its entirety, and substituting in lieu thereof the following:

3408.	Moving of Buildings.

(1)	Any owner, agent or contractor who desires to move any building through or across any sidewalk, street, alley or highway within the corporate limits of the City from one location to another, or cause same to be moved from one location to another on the same property shall first make application to the Building Inspection Department and obtain a permit therefor.

(2)	Each application for permit, with the required fee therefor, shall be filed with the Building Inspection Department on a form furnished by that department showing the location of the building as it exists and a site plan showing the location of the building which is proposed on the new lot.  Before the Building Inspection Department may issue a permit for the moving of a building from one location to another, a building inspector shall make an inspection of the building and of the lot onto which such building is to be moved and determine whether or not the building, after its relocation, will be substandard or cause the area into which it is being moved to be a blighted area.

(3)	All buildings being moved shall be situated on the recipient lot in such a way as to assure the front door of any moved building shall face the City street.  Any surface holes, irregularities, wells, septic tanks, basements, cellars, sidewalk vaults, or coal chutes remaining on any property from which a building is removed shall be filled with material as approved by the Building Official within thirty (30) days from the date any building is moved and shall be graded in such manner that will provide effective surface drainage.

(4)	The property owner of any lot to which a structure is being moved shall post said lot with a red sign not less than ten (10) days prior to the removal to said lot, which notice shall give the Building Inspector’s telephone number and list the address of the Building Inspector’s Office where the site plan can be seen and the present location of the building so that the structure itself may be seen prior to removal.  If violations of this Code are found, the Building Inspector may issue a stop work order on the new location that the building has been moved to until such violations on the property from which the building was moved have been completed by the permittee.

(5)	In the event, after an inspection by the building inspector, it is determined that the building, after removal and renovation, will meet the applicable Building Code standards and will not cause blight or dilapidation of the  area into which such building is moved, the building inspector may issue a permit for such removal and relocation; provided, the application shall first be approved by the City Traffic Engineer, who shall fix the time such building is to be moved and the route over which such movement is to be made.  Any determination of blight or dilapidation shall be made in consideration of the standards set out in T.C.A. § 13-20-201.  No building shall be moved over any street, other than the one approved, within the hours fixed by the City Traffic Engineer.

(6)	No permit shall be issued under this ordinance for the moving of any building until the applicant has paid a fee of One Hundred ($100.00) Dollars to pay the expense of the necessary investigations by the Building Inspection Department and the Traffic Engineering Department.

(7)	The applicant for a permit for the moving of a building within the corporate limits of the City shall file with the Building Inspection Department:

A certificate of insurance (or provide other proof in form and substance to be approved by the City Attorney) indicating that the applicant is insured and where the City of Chattanooga, Tennessee is named as an additional insured, issued by a casualty company authorized to do business in the State of Tennessee, in an amount of not less than $250,000.00 for injury to one and $600,000.00 for an injury to more than one in any one accident and $85,000.00 property damage, conditioned that the building removal will conform to all regulations and ordinances of the City in reference to the moving of buildings along or over any street, alley or public way of the City.

(8)	Improvements on moved buildings.  The owner, agent, or contractor of any house, building or structure which is moved to a new location shall make all necessary improvements required in order for said house, building or structure to comply with all requirements of the Official Building Codes adopted by the City within 180 days from the date of the issuance of the moving permit.  Extensions of such time as deemed reasonable may be granted by the building official upon a showing of delay caused by matters beyond the control of the owner or house mover.  In the event that all exterior renovations are not completed at the new location within 120 days or any reasonable extension by the Building Official, the owner shall be cited to City Court for noncompliance with this section and each day of continuing violation shall constitute a separate offense.

(9)	The application for the moving permit shall be accompanied by an application for a building permit, accompanied by complete plans and specifications showing the changes or conditions of said house, building, or structure as the same is proposed to be when moving, and all contemplated improvements, signed by the owner or the owner’s agent.

m.	That any reference to the International Existing Building Code, the International Sewage Disposal Code, and/or the International Electrical Code shall be deleted from the reference standards in Chapter 35 of the International Building Code and all such references shall be construed to reference the appropriate official codes adopted by the City of Chattanooga.

o.	By deleting Appendix A and adopting instead an Amended Appendix A – Employee Qualifications which shall read as follows:

EMPLOYEE QUALIFICATIONS

(1)  	Building official.  The building official shall have at least ten (10) years’ experience or equivalent as an architect, engineer, inspector, contractor or superintendent of construction, or any combination of these, five years of which shall have been supervisory experience.  The building official should be certified as a building official through a recognized certification program.  The building official shall be appointed or hired by the applicable governing authority.

(2)	Chief Inspector.  The building official can designate supervisors to administer the provisions of the International Building, Residential, Mechanical and Plumbing Codes, International Fuel Gas Code, and the National Electric Code (NFPA 70).  Each supervisor shall have at least ten (10) years’ experience or equivalent as an architect, engineer, inspector, contractor or superintendent of construction, or any combination of these, five years of which shall have been in a supervisory capacity.  They shall be certified through a recognized certification program for the appropriate trade.

(3)	Inspector and plan examiner.  The building official shall appoint or hire such number of officers, inspectors, assistants and other employees as shall be authorized by the jurisdiction.  A person shall not be appointed or hired as an inspector of construction or plans examiner who has not had at least five (5) years’ experience as a contractor, engineer, architect, or as a superintendent, foreman or competent mechanic in charge of construction.  The inspector or plan examiner shall be certified through a recognized certification program for the appropriate trade.

(4)	Termination of employment.   Employees in the position of building official, chief inspector or inspector shall not be removed from office except for cause after full opportunity has been given to be heard on specific charges before such applicable governing authority.

REFERENCED STANDARDS

IBC-2003	International Building Code – 2

IMC-2003	International Mechanical Code – 2

IPC-2003	International Plumbing Code – 2

IFGC-2003	International Fuel Gas Code - 2

p.	By adopting Appendix D in its entirety with the exception of D101.2, D101.2.1, D101.2.2, and D101.2.3, which sections are deleted in their entirety and the following language is substituted in lieu thereof:

D101.2  Establishment of Area.  The fire district of the City of Chattanooga is fully described at Chattanooga City Code § 10-5.

q.	By deleting Appendix H, Signs and substituting in lieu thereof the following language:

SIGNS

1.	General

1.1	Outdoor advertising displays.  Outdoor advertising display means any letter, figure, character, mark, plane, point, marquee sign, design, poster, pictorial, picture, stroke, stripe, line, trademark, reading matter, or illuminated service, which shall be so constructed, placed, attached, painted, erected, fastened, or manufactured in any manner whatsoever, so that the same shall be used for the attraction of the public to any place, subject, person, firm, corporation, public performance, article, machine, or merchandise, whatsoever, which is displayed in any manner whatsoever outdoors.  Every outdoor display shall be classified and conform to the requirements of that classification as set forth in this chapter.

1.2	Classifications.  For the purpose of this chapter and the regulations and provisions thereof, outdoor advertising displays shall be classified as a ground, marquee, projection, roof, shingle, spectacular or wall sign as defined in 202.

1.3  	Permits required.

1.3.1	An outdoor advertising display sign shall not hereafter be erected, constructed, altered or maintained except as provided in this code, until after a permit for the same has been issued by the building official as required in 105 or under Chattanooga City Code § 3-1 et seq. and the applicable fee paid.

1.4	Identification of signs.  Every outdoor advertising display sign hereafter erected, constructed or maintained, for which a permit is required shall be plainly marked with the name of the person, firm or corporation erecting and maintaining such sign and shall have affixed on the front thereof the permit number issued for said sign by the building official.

1.5	Sign inspection.  Every ground sign, roof sign, wall sign, and projection sign, may be inspected by the building official or his authorized representative at intervals as required by the building official.

1.6	Unsafe signs.  Should any sign become insecure or in danger of falling or otherwise unsafe in the opinion of the building official, the owner thereof, or the person or firm maintaining the same, shall upon written notice from the building official, forthwith in the case of immediate danger and in any case within 10 days, remove such sign or secure the same in a manner to be approved by the building official, in conformity with the provisions of this code.  If such order is not complied within 10 days, the building official shall remove such sign at the expense of the owner or lessee thereof.

1.7	Maintenance.  All signs for which a permit is required, together with all their supports, braces, guys and anchors shall be kept in repair and unless of galvanized or noncorroding metal shall be thoroughly painted at least once every 2 years.  The building official may order the removal of any sign that is not maintained in accordance with the provisions of this section.  Such removal shall be at the expense of the owner or lessee.

1.8	Unlawful signs.  In case any sign shall be installed, erected, or constructed in violation of any of the terms of this code, the building official shall notify, by registered mail or written notice served personally, the owner or lessee thereof to alter such sign so as to comply with this code or the zoning regulations and to secure the necessary permit therefore, or to remove the sign.  If such order is not complied with within 10 days, the building official shall remove such sign at the expense of the owner or lessee thereof.

1.9	Location restrictions.  An outdoor advertising display sign shall not be erected, constructed or maintained so as to obstruct any fire escape or any window or door or opening used as a means of egress or as to prevent free passage from one party of a roof to any other part thereof.  A sign shall not be attached in any form, shape or manner to a fire escape, nor be placed in such manner as to interfere with any opening required for legal ventilation.

1.10	Signs projecting over public property.  Signs projecting from a building or extending over public property shall maintain a clear height of 9 ft (2743 mm) above the sidewalk and all such signs shall extend not more than within 18 inches (457 mm) of the curbline.

2.	Definitions.  For definitions, see Chapter 2.

3.	Structural requirements.

3.1	Design required.  Before a permit shall be granted, the erector of every outdoor advertising sign, with the exception of shingle signs and light cloth temporary signs, shall submit to the building official a design and stress diagram or plan, containing the necessary information to enable the building official to determine that such sign complies with all the regulations of this code.

3.2	Wind pressure.  In the design and erection of all outdoor advertising display signs, the effect of wind shall be carefully considered.  All signs shall be constructed to withstand the wind pressure as specified in 1609.

3.3	Working stresses.  In all outdoor advertising display signs, the allowable working stresses shall conform with the requirements of 1605.

Exceptions:

1.	The allowable working stresses for steel and wood shall be in accordance with the provisions of Chapter 22 and Chapter 23.

2.	The working strength of chains, cables, guys, or steel rods shall not exceed one-fifth of the ultimate strength of such chains, cables, guys, or steel.

4.	Construction

4.1	Ground signs

4.1.1	Lighting reflectors may project beyond the face of the sign.

4.1.2	The bottom coping of every ground sign shall be not less than 3 ft (914 mm) above the ground or street level, which space may be filled with platform decorative trim or light wooden construction.

4.1.3	Every ground sign shall provide rigid construction to withstand wind action from any direction.

4.1.4	Any person or persons, partnership, firm, or corporation occupying any vacant lot or premises by means of a ground sign shall be subject to the same duties and responsibilities as the owner of the lot or premises, with respect to keeping the same clean, sanitary, inoffensive, free and clear of all obnoxious substances and unsightly conditions on the ground in the vicinity of such ground signs on said premises for which they may be responsible.

4.1.5	Wherever anchors or supports consist of wood embedded in the soil, the wood shall be pressure treated with an approved preservative.

4.2	Roof signs

4.2.1	No roof signs shall be permitted pursuant to Chattanooga City Code § 3-1, et seq.

4.3	Wall signs

4.3.1 	Wall signs attached to exterior walls of solid masonry, concrete or stone, shall be safely and securely attached by means of metal anchors, bolts or expansion screws of not less than 3/8-inch (9.5 mm) diameter and shall be embedded lat least five inches (127 mm).  Wood blocks shall not be used for anchorage, except in the case of wall signs attached to buildings with walls of wood.  A wall sign shall not be supported by anchorages secured to an unbraced parapet wall.

4.3.2	Temporary cloth signs with wood frames may be kept in place for a period not exceeding 30 days.

4.4	Projecting signs

4.4.1	All projecting signs shall be constructed entirely of metal or other noncombustible material and securely attached to a building or structure by metal supports such as bolts, anchors, supports, chains, guys, or steel rods.  Staples or nails shall not be used to secure any projecting sign to any building or structure.

4.4.2	The dead load of projecting signs not parallel to the building or structure and the load due to wind pressure shall be supported with chains, guys or steel rods having 3/8-inch (9.5 mm) diameter.  Such supports shall be erected or maintained at an angle of at least 45° (0.78 rad) or more with the face of the sign to resist the specified wind pressure.  If such projecting sign exceeds 30 sq ft (2.8 m2) in one facial area, there shall be provided at least two such supports on each side not more than 8 ft (2438 mm) apart to resist the wind pressure.

4.4.3	All supports shall be secured to a bolt or expansion screw that will develop the strength of the supporting chains, guys or steel rods, with a minimum 5/8-inch (15.9 mm) bolt or lag screw, by an expansion shield.  Turn buckles shall be placed in all chains, guys, or steel rods supporting projecting signs.

4.4.4	Chains, cables, guys, or steel rods used to support the live or dead load of projecting signs may be fastened to solid masonry walls with expansion bolts or by machine screws in iron supports, but such supports shall not be attached to an unbraced parapet wall.  Where the supports must be fastened to walls made of wood, the supporting anchor bolts must go through the wall and be plated or fastened on the inside in a secure manner.

4.4.5	A projecting sign shall not be erected on the wall of any building so as to project above the roof or cornice wall; except that a sign erected  at a right angle to the building, the horizontal width of which sign is perpendicular to such a wall and does not exceed 18 inches (457 mm), may be erected to a height not exceeding 2 ft (610 mm) above the roof or cornice wall or above the roof level where there is no cornice wall.  A sign attached to a corner of a building and parallel to the vertical line of such corner shall be deemed to be erected at a right angle to the building wall.

4.5	Marquee signs.  Marquee signs shall be constructed entirely of metal or noncombustible material and may be attached to, or hung from a marquee.  Such signs when hung from a marquee shall be at least 8 ft (2438 mm) at its lowest level above the sidewalk or ground level, and further, such signs shall not extend outside the line of such marquee.  Marquee signs may be attached to the sides and front of a marquee, and such signs may extend the entire length and width of said marquee, provided such signs do not extend more than 6 ft (1829 mm) above, nor 1 ft (305 mm) below such marquee, but under no circumstances, shall the sign or signs have a vertical dimension greater than 8 ft (2438 mm).

5	Use of plastic materials

5.1	Notwithstanding any other provisions of this code, plastic materials which burn at a rate no faster than 2 ½ inches per minute (1.06 mm/s) when tested in accordance with ASTM D 635 shall be deemed approved plastics and may be used as the display surface material and for the letters, decorations and facings on signs and outdoor display structures.

5.2	Individual plastic facings of electric signs shall not exceed 200 sq. ft (18.6m2) in area.

5.3  	If the area of a display surface exceeds 200 sq ft (18.6m2), the area occupied or covered by approved plastics shall be limited to 200 sq ft (18.6m2) plus 50% of the difference between 200 sq ft (18.6m2) and the area of display surface.  The area of plastic on a display surface shall not in any case exceed 1,100 sq ft (102m2).

5.4	Letters and decorations mounted upon an approved plastic facing or display surface may be made of approved plastics.

r.	By adopting Appendix J in its entirety with the exceptions of J103, J104, J110 which sections deleted in their entirety.

SECTION 4.  BE IT FURTHER ORDAINED THAT Section 10-3, Part II, Chattanooga City Code, be further amended to add the following amended sections of the International Residential Code, 2003 edition, as hereinafter provided:

a)	Section R108.2   Schedule of fees is deleted in its entirety and the following language shall be substituted in lieu thereof:

All fees approved by the City under § 108.2 of the International Building Code, as amended, shall be collected in the same manner under this section.

b)	Section R112 is amended by deleting such section in its entirety and substituting in lieu thereof the following language:

Section R112.  Board of Appeals.

The Construction Board of Appeals for the Building, Residential, Electrical, Fire , Fuel Gas, Life Safety, Mechanical and Plumbing codes of the Chattanooga City Code as established by Section 2-625, shall act as the Board of Appeals for appeals from any decision of the Building Official or his designee and to consider variances of the technical codes as provided in this Code.

c)	R311.4.1.  Exit doors required.  Not less than two exit doors conforming to this section shall be provided for each dwelling unit.  The required exit doors shall provide for direct access from the habitable portions of the dwelling to the exterior without requiring travel through a garage.  Access to habitable levels not having an exit in accordance with this section shall be by a ramp in accordance with Section R311.6 or a stairway in accordance with Section R311.5.

Exception: Travel through a garage is allowed when the exterior wall of the garage has an exit door meeting the requirements of Section R311.4.2.

d)	R311.4.2.  Door type and size.  The required exit door shall be a side-hinged door not less than 3 feet (914mm) in width and 6 feet 8 inches (2032mm) in height.  Other doors shall not be required to comply with these minimum dimensions.

Exception:  The second means of egress exit door shall be a side-hinged door or a side sliding door not less than 2 feet 8 inches (812mm) in width and 6 feet 8 inches (2032mm) in height.

e)	Section R323.  Flood Resistant Construction is deleted in its entirety and the following language shall be substituted in lieu thereof:

The appropriate Flood Hazard Regulations of the Chattanooga Zoning Ordinance and the Federal Regulations referenced therein shall constitute the official regulations of the City of Chattanooga with regard to any construction within the Flood Hazard Zone.

f)	Section R403.  Table R403.1 entitled Minimum Width of Concrete or Masonry Footings is deleted in its entirety and the following Amended Table and subsection is adopted in lieu thereof:

TABLE R403.1

MINIMUM WIDTH OF CONCRETE OR MASONRY FOOTINGS

(inches)a

|  | LOAD-BEARING VALUE OF SOIL (psf) |  |  |  |
| --- | --- | --- | --- | --- |
|  | 1,500 | 2,000 | 3,000 | ≥ 4,000 |
| Conventional light-frame construction |  |  |  |  |
| 1-story | 16 | 16 | 16 | 16 |
| 2-story | 19 | 16 | 16 | 16 |
| 3-story | 27 | 21 | 16 | 16 |
| 4-inch brick veneer over light frame or 8-inch hollow concrete masonry |  |  |  |  |
| 1-story | 16 | 16 | 16 | 16 |
| 2-story | 25 | 20 | 16 | 16 |
| 3-story | 36 | 28 | 20 | 16 |
| 8-inch solid or fully grouted masonry |  |  |  |  |
| 1-story | 20 | 16 | 16 | 16 |
| 2-story | 33 | 25 | 18 | 16 |
| 3-story | 46 | 36 | 25 | 20 |

For SI: 	1 inch = 25.4 mm, 1 pound per square foot =0.0479 kN/m2.

Where minimum footing width is 16 inches, a single wythe of solid or fully

Grouted 12-inch nominal concrete masonry units is permitted to be used.

R403.1.3.1 Foundations with stemwalls.  Foundations with stemwalls shall be provided with a minimum of one No. 4 bar at the top of the wall and one No. 4 bar at the bottom of the footing.

g)	Any reference to the International Existing Building Code, the International Property Maintenance Code, the International Sewage Disposal Code, and/or the International Electrical Code shall be deleted from the reference standards in Chapter 43 of the International Residential Code and all such references within the International Residential Code shall be construed to reference the appropriate official codes adopted by the City of Chattanooga.

SECTION 5.  BE IT FURTHER ORDAINED, That Sections 2-625 and 2-626 of the Chattanooga City Code be amended by deleting said sections in their entirety and substituting in lieu thereof the following:

Section 2-625.  Construction Board of Adjustment and Appeals for Building, Residential, Electrical, Fire, Fuel Gas, Life Safety, Mechanical and Plumbing codes.

(a)	There hereby is created a Construction Board of Adjustment and Appeals for all of the adopted building codes of the city.  Such Board shall consist of nine (9) members, who shall be active in the field of construction and shall serve without compensation.  One (1) member of the board shall be  a building contractor; one (1) member shall be a plumbing contractor; one (1) member shall be an electrical contractor; one (1) member shall be a mechanical, heating, ventilation, and air conditioning contractor; one (1) member shall be a realtor; one (1) member shall be an architect; one (1) member shall be an engineer; one (1) member shall be a building supply dealer; and one (1) member shall be a person who is qualified by experience and training with the hazards of fire, explosions, hazardous conditions or fire protection systems.  The members shall be appointed by the mayor, subject to city council approval, for terms of four (4) years each.  The board shall organize by electing one (1) of its members as chair.  The chair or the chair’s designee shall act as secretary to the Board.

(b)	The Construction Board of Adjustment and Appeals shall meet once monthly on a date to be determined by its chair, to consider appeals from the decisions of the various enforcement officers of the various construction codes of the city and to consider adjustments in the various construction codes.  The Board shall also have the power to determine questions of administrative interpretations of the code, questions of the use of materials and types of construction, to hear proof of performance of new materials or materials not specifically covered in the codes, and to determine the usability of such materials and the safety and permanence of various types of construction.

(c)	Every decision of the Board shall be final, subject however to such remedy as any aggrieved party might have at law or in equity from the Hamilton County Chancery Court.

(d)	The Construction Board of Adjustment and Appeals shall also have power to make recommendations for revisions or modifications of all existing construction codes to the mechanical codes review committee.

(e)	Five (5) members of the Construction Board of Adjustment and Appeals shall constitute a quorum.  In varying the application of any provisions of this Code or in modifying an order of the building official, affirmative votes of the majority present, but not less than three (3) affirmative votes, shall be required.  No board member shall act in a case in which that board member has a personal interest.

(Code 1986, § 2-425; Ord. No. 9654, §§ 2 & 53, 1-6-92)

(f)	Powers.  The Construction Board of Adjustment and Appeals shall have the power, as further defined in (g), to hear appeals of decisions and interpretations of the building official and consider variances of the technical codes.

(g)	Appeals of a Decision of the Building Official.  The owner of a building, structure or service system, or a duly authorized agent, may appeal a decision of the building official to the Construction Board of Adjustment and Appeals whenever any one of the following conditions are claimed to exist:

1.	The building official rejected or refused to approve the mode or manner of construction proposed to be followed or materials to be used in the installation or alteration of a building, structure or service system.

2.	The provisions of this code do not apply to this specific case.

3.	That an equally good or more desirable form of installation can be employed in any specific case.

4.	The true intent and meaning of this code or any of the regulations thereunder have been misconstrued or incorrectly interpreted.

(h)	Variances.   The Construction Board of Adjustment and Appeals, when so appealed to and after a hearing, may vary the application of any particular case when, in its opinion, the enforcement thereof would do manifest injustice and would be contrary to the spirit and purpose of this or the technical codes or public interest, and also finds all of the following:

1.	That special conditions and circumstances exist which are peculiar to the building, structure or service system involved and which are not applicable to others.

2.	That granting the variance requested will not confer on the applicant any special privilege that is denied by this code to other buildings, structures or service system.

3.	That the variance granted is the minimum variance that will make possible the reasonable use of the building, structure or service system.

4.	That the grant of the variance that will be in harmony with the general intent and purpose of this code and will not be detrimental to the public health, safety and general welfare.

Conditions of the variance.  In granting the variance, the board may prescribe a reasonable time limit within which the action for which the variance is required shall be commenced or completed or both.  In addition, the board may prescribe appropriate conditions and safeguards in conformity with this code.  Violation of the conditions of a variance shall be deemed a violation of this code.

(i)	Procedures of the Board.

1.	Rules and regulations.  The board shall establish rules and regulations for its own procedure not inconsistent with the provisions of this code.  The board shall meet once monthly, if applications are submitted, on a date to be determined by the chairman.  The board shall meet within thirty (30) calendar days after notice of appeal has been received.  No applications for any appeal shall be accepted if filed less than five (5) days before a scheduled monthly meeting.

- Decisions.  The Construction Board of Adjustment and Appeals shall, in every case, reach a decision without unreasonable or unnecessary delay.  Each decision of the Board shall also include the reasons for the decision.  If a decision of the Board reverses or modifies a refusal, order, or disallowance of the building official or varies the application of any provision of this code, the building official shall immediately take action in accordance with such decision.  Every decision shall be promptly filed in writing in the office of the building official and shall be open to public inspection.  Every decision of the Board shall be final, subject however to such remedy as any aggrieved party might have at law or in equity.

  - Mechanical codes review committee.

(a)	There is hereby created a mechanical codes review committee.  The committee shall have 12 members which shall include all members of the Construction Board of Adjustment and Appeals for building, residential, electrical, fire, fuel gas, life safety, mechanical and plumbing codes for the city, and the Building Official, the Fire Marshall, and the City Attorney.

(b)	The review committee shall meet, as needed, whenever the City considers the adoption of any new building, residential, electrical, fire, fuel gas, life safety, mechanical or plumbing codes as amendments to those codes become available.  The review committee shall submit a recommendation any new code amendments which shall be presented to the City Council whenever new codes are considered for adoption.

SECTION 6.  BE IT FURTHER ORDAINED, That Section 10-7 Handicap and Accessibility Code is deleted in its entirety and the following language is substituted in lieu thereof as follows:

10-7.	Handicap and Accessibility Code adopted.

American National Standard.  Accessible and Usable Buildings and Facilities (ICC/ANSI A117.1-1998), one (1) copy of which is, and has been on file for more than fifteen (15) days, with the Clerk of the City Council, is hereby adopted as the Official Handicap and Accessibility Code of the City.

SECTION 7.  That this Ordinance shall become effective immediately after its passage, but the Building Official shall have discretion to accept drawings and designs based upon the 1999 Standard Building Code and the amendments of that Code adopted by the City Council upon a showing of significant financial effect upon existing projects up to and including January 1, 2006.

PASSED on Second and Final Reading

July 26                    , 2005.	S/________________________________________

CHAIRPERSON

APPROVED:       X       DISAPPROVED: _______

DATE:                        July 29                      , 2005

S/_______________________________________

MAYOR

PAN/kac